## Section 6.6
Section 6.6 Personal Protection Alarm and Response Time
Test Data and Report
Manufacturer:
Model: |  |  |  | Serial Number:
Requirement: | The instrument shall alarm when it is exposed to an increase in the ambient radiation level greater than the personal protection alarm threshold within 2 s of the step change.
Note: | Comments are required when the requirement is not verified.
Test Equipment Used:
Source Data:
| Ambient Conditions: |  | °C |  | %RH | mmHg
|  | Background Field: |  |  | (add units)
|  | Personal Protection Alarm Threshold: |  | (add units)
|  | Test Exposure Rate |  | (add units)
Cs-137
Alarm in ≤ 2 s
|  | 1 |  | (yes/no entries)
2
3
4
5
6
7
8
9
10
|  |  | Yes | No
Did the instrument alarm within 2 seconds for gamma?
Comments:
Performed by: |  |  |  | Date:
Reviewed by: |  |  |  | Date:
Draft 3