## Section 5.7
Section 5.7 Energy and Response Range
Test Data and Report
Manufacturer:
| Model: | Serial Number:
Requirement: | The gamma-ray energy range should be at least 50 keV to 3000 keV. The manufacturer shall state the following: - the effective gamma-ray energy range, - the range of gamma-ray exposure rate over which the instrument operates (based on 137Cs (662 keV)), - the range of gamma-ray exposure rate for radionuclide identification, if applicable, and - the range of neutron count rate over which the instrument operates, if applicable.
Note: | Comments are required when the requirement is not verified.
|  |  | Yes | No
Is the energy response range, and the gamma and neutron count rate range are stated by the manufacturer?
| Energy response range: |  |  |  | (add units)
| Gamma count rate range: |  |  |  | (add units)
Gamma count rate range for radionuclide identification:
(add units)
| Neutron count rate range: |  |  |  | (add units)
Comments:
| Completed by: |  | Date:
| Reviewed by: |  | Date:
Draft 3