## Sheet 1
Pre-Test (Section 10)
Data Sheet and Report
Manufacturer:
Model:
Requirement: | Verify that the manufacturer supplied an operation and maintenance manual containing the information listed below.
Test Protocol: | Review the information provided and indicate whether the required information has been provided. Also verify that the documentation is complete and understandable. The documentation should not be in draft form with incomplete sections.
Note: | Comments are required when the requirement is not verified.
Test Results
Requirement |  | Yes | No
Contact information for the manufacturer including name, address, telephone #, fax #, email address, etc.
Type of instrument, detector, and types of radiation instrument is designed to measure.
All significant calibration parameters
Power supply requirements
Results of tests under environmental conditions.
Results of electrical and mechanical tests
Recommended operational parameters such as: detector response and false alarm probability
Complete description of the BRD
Operating instructions and restrictions
High level wiring diagrams
Spare parts list and specifications
Troubleshooting guide
Training Manual
Description and protocol for communication methods of transmitting and receiving data
Description of confidence indicator
Description of calibration procedures and recommended frequency
Description of data formats including ANSI N42.42 enactment and any schema additions
Recommended settings of configurable parameters
Description of any detector module specific data that are required to be updated if a BRD has swappable components
Comments:
Completed by: |  | Date:
Reviewed by: |  | Date:
Draft 3