## Section 5.4
Section 5.4 - Markings
Test Data and Report
Manufacturer:
| Model: | Serial Number:
Requirement: | All external controls, displays, and adjustments shall be identified as to function. External markings shall be easily readable and remain fixed after normal decontamination procedures (e.g., water and mild, non-abrasive detergent). Internal controls needed for operation shall be identified through markings and identification in technical manuals.
Note: | Comments are required when the requirement is not verified.
Verified
|  |  |  | Yes | No
External controls, displays, and adjustments are identified as to function?
Internal controls are identified through markings and identification in technical manuals?
External markings are easily readable and are permanently fixed?
External markings remain fixed after normal decontamination procedures?
Manufacturer and model number?
Unique serial number?
Location of the effective center(s) or area(s) of detection (reference point)?
Comments:
| Completed by: |  | Date:
| Reviewed by: |  | Date:
Draft 3