## Section 6.12.7
Section 6.12.7 Overload Characteristics for Identification
Test Data and Report
Manufacturer:
| Model: |  |  | Serial Number:
Requirement: | The manufacturer shall state the maximum gamma-ray exposure or dose rate (e.g., R/h,mSv/h) relative to 137Cs for identification.
Note: | Comments are required when the requirement is not verified.
|  | Ambient Conditions: | °C | %RH | mmHg
Source Data (Co-60):
Source Data (Cs-137):
Identification Results
1
2
3
4
5
6
7
8
9
10
Number Correct
Comments:
| Completed by: |  |  | Date:
| Reviewed by: |  |  | Date:
Draft 3