| Lab: |  |  |  |  | Software Verification & Validation |
| --- | --- | --- | --- | --- | --- |
| Software Description: |  |  |  |  | Date: |
| Codes | Assessment | Pass | Fail | Result/Observations (Attach Evidence or Describe) |  |
| A. Software Inspection | Spreadsheet is clear and makes sense |  |  |  |  |
|  | There are instructions for use |  |  |  |  |
|  | Instructions and data input appear on the visible portion of the first worksheet |  |  |  |  |
|  | Data-entry fields are labeled and color coded (it is recommended to avoid red and green) |  |  |  |  |
|  | The type/name of procedure used is clearly specified |  |  |  |  |
|  | The number of digits to be rounded to is specified |  |  |  |  |
|  | The user is warned/notified whenever data-entry fields are left blank |  |  |  |  |
|  | Data-entry fields are “blank” when opened, preventing loss of old data and ensuring that old data is not used with the current calculations |  |  |  |  |
|  | The software opens at the right location within the file |  |  |  |  |
|  | Unused fields/cells are locked |  |  |  |  |
|  | Rows/columns that the operator need not see are hidden |  |  |  |  |
|  | Unused worksheets are removed |  |  |  |  |
|  | Worksheets are named appropriately |  |  |  |  |
|  | Pass/Fail criteria are specified in instructions |  |  |  |  |
|  | Pass/Fail cells are automated (Not data-entry) |  |  |  |  |
|  | Calculation fields are properly labeled |  |  |  |  |
|  | Units are expressed properly and correctly |  |  |  |  |
| B. Mathematical Specification | The appropriate procedure is used |  |  |  |  |
|  | The formulae and methods chosen from that procedure are specified |  |  |  |  |
|  | Sources and references for formulae are specified |  |  |  |  |
|  | The chosen procedure, its methods, and its formulae, are appropriate to the level of precision/uncertainty |  |  |  |  |
| C. Code Review | The formulae in the fields exactly match the procedure |  |  |  |  |
|  | Repeated calculations appropriately reference the correct cells |  |  |  |  |
|  | Calculations, when tested using standard data or reference test data, show appropriate accuracy |  |  |  |  |
|  | Rounding is done at the appropriate locations in the file |  |  |  |  |
| D. Numerical Stability | Calculations are stable as determined by an evaluation that uses large numbers and small differences |  |  |  |  |
|  | Fields, therefore their content, are categorized as “Number” and not “General” when appropriate, and vice versa |  |  |  |  |
|  | “Number” cells are locked to a limited number of decimal places; this limit is appropriate to the values being used |  |  |  |  |
| E. Component Testing | Conditional logic cells handle negative values properly |  |  |  |  |
|  | Conditional logic cells withstand a Boundary Value test |  |  |  |  |
|  | Each macro used is functional |  |  |  |  |
|  | Each command/button is functional |  |  |  |  |
|  | Combinations of interdependent macros are functional |  |  |  |  |
|  | Plotted graphs are accurate |  |  |  |  |
|  | Plotted graphs and its axes are properly labeled |  |  |  |  |
|  | Worksheets/reports print properly, if needed to |  |  |  |  |
|  | Conditional (color and non-color) formatting is functional |  |  |  |  |
| F. Numerical Reference Results | Look-up tables and lists match the latest calibration report. |  |  |  |  |
|  | Uncertainties match the latest Scope |  |  |  |  |
|  | Values that reference another workbook or spreadsheet are dated |  |  |  |  |
|  | When a master list’s date is updated, the file references (A) an old value, (B) a default value, (C) displays zero or (D) an error message, as desired by the user |  |  |  |  |
| G. Embedded Data Evaluation | Embedded data (conversion factors, reference values, etc) is correct |  |  |  |  |
|  | The evaluation of the embedded data is dated and documented |  |  |  |  |
|  | The instructions worksheet includes a list of all additional files and plug-ins needed for it to run properly |  |  |  |  |
| H. Back-to-Back Testing | Newer spreadsheets and older spreadsheets agree down to the level of intermediate calculations; this evaluation is dated and documented |  |  |  |  |
| I. Analysis With Out Computer Assistance | Hand calculations agree with those generated by the spreadsheet, or if they disagree, the differences are significantly smaller than the reported uncertainty |  |  |  |  |
|  | Conclusions and results are apparent (if appropriate) |  |  |  |  |
| J. Security | Equation and calculation cells are protected against inadvertent editing |  |  |  |  |
|  | Cells are locked in place; they cannot be moved/dragged |  |  |  |  |
|  | Confidentiality of passwords is appropriate |  |  |  |  |
|  | Files are backed up automatically |  |  |  |  |
|  | Additional back-up is available at alternate facilities |  |  |  |  |
|  | Files on network drives cannot be accidentally deleted |  |  |  |  |

Additional Observations:

_______________________			________________________

Signed:					Title

More details on numerical instability may be found in Software Support for Metrology Best Practice Guide No. 1