Version

2.0

ICSGENERATOR

USER’S Guide

Table of Contents

1. Background	3

2. Installation	5

2.1 Download and Installation Information	5

2.2 System Requirements	5

2.3 Running the ICSGenerator Tool	5

2.3.1 DIM ICS (DEFAULT)	7

2.3.2 General ICS	19

2.3.3 Service Support ICS	25

2.3.4 Transport ICS	31

2.3.5 UML Diagram	37

2.3.6 Compare Devices	41

ICSGenerator User’s Guide

## 1. Background

The IEEE 11073 Standard is a family of documents that defines the entire seven layer communications requirements for the "Medical Information Bus" (MIB). The objective of this standard is to standardize data communications for patient connected bedside devices, optimized for the acute care setting, to allow clinicians to set up device communications in a "plug and play" fashion.

NIST is collaborating with the IEEE Medical Device Communications working group in developing a set of conformance tests and corresponding tools to aid in testing implementations against the IEEE 11073 set of standards.

The ICSGenerator tool is an effort initiated by National Institute of Standards Technology (NIST) and IEEE 11073 Working Group to help in capturing the relationships among the managed objects and the data necessary to generate Implementation Conformance Statements (ICS). An ICS discloses details of a specific implementation and specifies which features are provided. The tool was also designed, to aid in the IEEE 11073 test development process by providing a mechanism for test identification.

Figure 1 depicts a functional overview of the ICSGenerator tool. Processing is XML based. An XML instance of the DIM XSchema (An electronic version of the IEEE 11073 DIM developed by NIST) was created to capture all the managed objects, their relationships and the information associated to each of them, such as attributes, behaviors and notifications. The ICSGenerator loads the XML file, provides with the capabilities of adding, removing and updating managed objects including its attributes, behaviors and notifications. Based on this information the tool generates an XML file representing the containment tree that describes the medical device as specified by the implementer in conformance with the IEEE 11073 standard. The XML file contains the data required to generate ICS reports and any other reports related to the information model or the implementation containment tree. NIST plans to utilize this tool as a test isolation mechanism for the IEEE 11073 implementation testing.

Figure 1. Overview of  ICS-Generator

## 2. Installation

### 2.1 Download and Installation Information

ICSGENERATOR can be downloaded at: http://www.nist.gov/icsgenerator

First unzip the ICSTOOL.ZIP file. This should create the following directories:

- c:/ICS/src - top level directory for source code

- c:/ICS/src/comparingDevices - contains java source code for comparing two devices

- c:/ICS/src/drawing - contains  java source code for creating a UML diagram of a device

- c:/ICS/src/icsDyn - contains java source code for creating an ICS for a device

- c:/ICS/src/icsTables -  contains java source code for creating html tables listing attributes, behaviors, notifications… for a device

- c:/ICS/src/modifyIcs – contains java source code for creating an ICS for the Service Model

- c:/ICS/jar - directory that contains the jama.jar file.  Jama is a java matrix package

- c:/ICS/xml - directory that contains xml files used by the ICSGenerator tool.  The default ICS XML file ICS-Tool.xml (an XML representation of the data model as specified in the IEEE 11073 DIM Document) is contained in this directory.

- c:/ICS/xsd - directory that contains the DIM schema

- c:/ICS/XSLT - directory that contains transformation files used by the ICSGenerator tool.

### 2.2 System Requirements

ICSGenerator 2.0 uses Java and XML Technologies. The following software is required:

- Java 2 SDK (Version 1.4.2)

- Xerces  (Version 2_8_0)

CLASSPATH MUST BE SET TO THE FOLLOWING:

.;c:/xerces-2_8_0/xercesImpl.jar;c:/xerces-2_8_0/xml-apis.jar;c:/ICS/jar/jama.jar

### 2.3 Running the ICSGenerator Tool

From the ICS source directory, compile and execute the ICSGenerator Tool using the following commands:

- cd c:/ICS/src

- javac icsDyn/*.java

- java ManagementView

The ICSGenerator main screen should pop up. Note there are six tabs at the top of the main screen for the user to select.  Detailed descriptions of each tab follow.

### 2.3.1 DIM ICS (DEFAULT)

The generation process is driven by an input XML file containing the data information model. The default file is a complete representation of the data information model as prescribed in the IEEE 11073 DIM specification. To initiate the process select the XML file (Data Information Model) you want to use as the initial model to specify your implementation conformance statements and support information.

The generation process is also driven by the type of Medical Device System (MDS) Object selected for the Medical Device Data Information Model, the current version of the ICSGenerator tool supports Hydra and Simple MDS.

At the top of the panel select one of the following:

"New" to dynamically create an ICS for a device. This option is usually selected the first time you use the tool. 
Or
"Reload" to start the process with a previous created version of the file.

Select MDS type:

"Simple" to represent a medical device that contains a single Virtual Medical Device (VMD) instance only (single purpose device).
Or 
"Hydra" to represent a device that contains multiple VMD instances (multi-purpose device).

Once you have selected one of them a JTree representation of the loaded XML file should appear on the left hand of the screen.

Click on any Managed Object Class (MOC) to see information such as Object Class, Object Name, Label, Reference, Attributes, Behavior, Notification etc…

There are also five buttons below the JTree:

"Add MOC" to add a new Managed Object Class (MOC) to the tree 
"Remove MOC" to remove MOC's from the tree.

"Update Attributes…" to update the attributes for the selected MOC

"Update Behaviours…" to update the behaviours for the selected MOC

"Update Notifications…" to update the Notifications for the selected MOC

Click on the MOC you will like to add under or remove.

In the example below we are adding a new Battery MOC.

As you add or remove selected MOC's you should see the JTree changing to reflect the additions or removals of MOC's. You can also add a label, restrictions, Application Guidance, CREATE/DELETE Service Support and comments for a MOC by typing data into the respective boxes and clicking on "Add Changes".

ICSGenerator also allows modification of attributes, behaviors and notifications for each MOC. Click on the “Attribute Name” combo box to see a list of attributes for a selected MOC.

If an attribute is selected the following screen will be displayed and the following information should be provided:

- Restrictions

  - User supplied information detailing any restrictions for the attribute selected.

- Application Guidance

  - User supplied information about attribute selected.

- Attribute Access

  - User supplied information showing the attribute access of the selected attribute such as GET, SET, SCAN…

- Value ranges

  - User supplied information showing value ranges for the attribute selected, only if applicable.

- Comments

  - User supplied comments for the attribute selected.

Click on the “Add” bottom to submit the information entered.

If a behavior is selected the following screen will be displayed and the following information should be provided:

- Restrictions

  - This field captures restrictions entered for the behavior.

- Comments

  - This field captures comments entered for the behavior.

Click on the “Add” bottom to submit the information entered.

If a notification is selected the following screen will be displayed and the following information should be provided:

- Restrictions

  - This field captures restrictions entered for the notification.

- Comments

  - This field captures comments entered for the notification.

Click on the “Add” bottom to submit the information entered.

Click on the "Update Attributes…" button to update the Attribute List for the selected MOC.  Users can modify the Attribute List by Adding/Removing attributes.  Users are also able to add Private Attributes to the selected MOC.  However, a mandatory attribute may not be removed from the MOC.

Click on the Add changes button to make the changes permanent.

Click on the "Update Behaviors…" button to update the Behavior List for the selected MOC.  Users can modify the Behavior List by Adding/Removing behaviors.  Users are also able to add Private Behaviors to the selected MOC.  However, a mandatory behavior may not be removed from the MOC.

Click on the Add changes button to make the changes permanent.

Click on the "Update Notifications…" button to update the Notification List for the selected MOC.  Users can modify the Notification List by Adding/Removing notifications.  Users are also able to add Private Notifications to the selected MOC.  However, a mandatory notification may not be removed from the MOC.

Click on the Add changes button to make the changes permanent.

Once you are done modifying the tree you can generate an XML representation of the JTree by clicking on the “Generate” button. The XML will appear at the bottom of the screen. You should also save the file by clicking on the “Export XML file” button.  ICSGenerator allows you to reload files, if you are not finished making your changes you can reload your working copy and continue working on that file.

### 2.3.2 General ICS

The General ICS allows the implementer to specify the version/revisions that are

supported by the implementation as well as some high-level system behavior     definitions. The generation process is driven by an XML input file containing the General ICS information. The default file is a complete representation of the General ICS as prescribed in the IEEE 11073 DIM specification. To initiate the process select the General ICS XML file you want to load.

At the top of the Main screen panel click on the General ICS tab

Click on

"New" to create a General ICS for a device. This option is usually selected the first time you create a General ICS. 
Or
"Reload" to load a previously created version of a General ICS.

Select a General ICS file to load

Click on Open

The file selected is now loaded

The following screen appears once you have loaded a General ICS file.

The Support and Comment fields may be modified by clicking on the respective column and typing the appropriate text.

Once you are finished typing the text you can make the changes permanent by clicking on the Add changes button.

Clicking on the Generate XML File will produce the following screen.

You can see the generated XML at the bottom of the screen.

You can save your updated General ICS statement by clicking on the Export XML File button.

You will be prompted to type a file name for the new version of the General ICS.

### 2.3.3 Service Support ICS

The Service Support ICS defines which services are defined in the service model as well as which services are implemented.  The Service Support ICS should only be supplied for communicating devices. The generation process is driven by an XML input file containing the Service Support ICS information. The default file is a complete representation of the Service Support ICS as prescribed in the IEEE 11073 DIM specification. To initiate the process select the Service Support ICS XML file you want to load.

At the top of the Main screen panel click on the Service Support ICS tab

Click on

"New" to create a Service Support ICS for a device. This option is usually selected the first time you create a Service Support ICS 
Or
"Reload" to load a previously created version of a Service Support  ICS

Select a Service Support ICS file to load

Click on Open

The file selected is now loaded

The following screen shows the results of loading a Service Support ICS file.

The Support and Comment fields may be modified by clicking on the respective column and adding a check in the support field and/or typing text into the Comment field.

Once you are finished typing the text you can make the changes permanent by clicking on the Add changes button.

Clicking on the Generate XML File will produce the following screen.

You can see the generated XML at the bottom of the screen.

You can save your updated Service Support ICS by clicking on the Export XML File button.

You will be prompted to type a file name for the new version of the Service Support ICS.

### 2.3.4 Transport ICS

The Transport ICS defines which transport is defined.  The generation process is driven by an XML input file containing the Transport ICS information. The default file is a complete representation of the Transport ICS. Currently only the IRDA-based Cable-Connected transport ICS is supported by the ICSGenerator Tool.  To initiate the process select the Transport ICS XML file you want to load.

At the top of the Main screen panel click on the Transport ICS tab

Click on

"New" to create a Transport ICS for a device. This option is usually selected the first time you create a Transport ICS. 
Or
"Reload" to load a previously created version of a Transport ICS

Select a Transport ICS file to load

Click on Open

The file selected is now loaded

Click on the IRDA-based Cable-Connected radio button.

Click on one of the following radio buttons (IrLAPICS  TinyTPICS  IrLMPCIS).

Clicking on the IrLAPICS will produce the following screen.

Highlight a particular function.  Make support column modifications for the function selected.

Click on the Add Changes button to make the changes permanent.

Click on the Generate XML File to produce the XML representation of the Transport ICS.

You can save your updated Transport ICS statement by clicking on the Export XML File button.

You will be prompted to type a file name for the new version of the Transport ICS.

### 2.3.5 UML Diagram

The UML Diagram function allows a user to create a class diagram that captures the devices data model as well as shows the relationships between the classes.  In order to create a UML Diagram a DIM ICS must first be loaded.

At the top of the Main screen panel click on the UML Diagram tab.

Select the MOC that you would like to be the root of the UML Diagram.

Click on the Draw UML Diagram button to produce the UML diagram.

You can save your UML diagram image by clicking on the Export image… button.

You will be prompted to type a file name for the created UML diagram.

### 2.3.6 Compare Devices

The Compare devices function is used to compare the information model of two           or more devices.  The tool will show what objects, attributes, behaviors and notifications that the devices have in common as well as what is different between the devices.

At the top of the Main screen panel click on the Compare devices tab

Click on the Add a device button

Click on the Browser button and select a file for Device number 1.

Click on Add a device to add a second device for the comparison.

Click the Browser… button and select a file for Device number 2.

Click on the Compare devices button.

NOTE:  More than two devices can be compared.

The following report is a sample comparison of two devices.

Highlight a particular MOC and then right click the mouse and a drop down menu will appear allowing you to compare the Attributes, Behavior or Notifications of the MOC.

Selecting Attributes will produce the following screen.

Right click on the mouse and click on Back to return to the previous screen.