## Instructions and Changes
Notes
This file demonstrates the evaluation of "old" and "new" data in control charts as part of a periodic comparison of samples, using F-tests, t-tests, and pooling of data where applibable.
It follows the general guidance given in the Laboratory Auditing Program (LAP) problems of the 1980's by Henry Oppermann in the Use of Control Charts in State Laboratories. However, the uncertainty analysis in the LAP 26-27 files and this document are NOT following the GUM or current uncertainty practices. See embedded historical files to the right.
This file uses simplified calculations for uncertainty and has NOT been validated! It is also using the "old" Excel equation functions.
The password is "metrology".
Document Control
Date | Changes | Initials
2018-08-31 | Created for Statistics Working Group sessions in 2018. Updated with notes in August 2018. Edited based on feedback from Michael Kruse (FL). | GH

## Summary Stats E.g. 1
Statistical Summary for Chart and Data Analysis | [6 empty] | Old Data | [6 empty] | New Data | [12 empty] | Pooled Data
Evaluation Date: |  |  | 2018-03-19 | [9 empty] | To Do: Unc adj for d.f. eff | [6 empty] | To Do: Unc adj for d.f. eff
Enter | Enter | Enter | Enter | Enter | Enter | Enter | Enter | Calc | Enter | Enter | Enter | Enter | Calc | Enter | Calc | Enter | Enter | Enter | Enter | Calc
Station | Balance | Nominal Mass (g) | Check ID | SOP | Reference Corr (mg) | Ref U (mg) | Mean CM(Sc) (mg) | U est (mg) | Current d.f. | s(t) (mg) | Pooled s(w) (mg) | d.f. for s(w) | E(n) | Mean CM(Sc) (mg) | U est (mg) | Current d.f. | s(t) (mg) | Pooled s(w) (mg) | d.f. for s(w) | E(n) | t-test | t-calc | P/F | F-test | F-calc | P/F | Pooled mean | Pooled s(t) | Pooled' s(w) | New df
1 | 11 | 2000 | Set 1 2 kg | 4 | 0.46 | 0.5 | 0.5 | 0.50692 | 29 | 0.22471 | --- | --- | 0.056179 | 0.4 | 0.50855 | 29 | 0.25 | --- | --- | 0.084131 | 1.6294 | 2.0017 | P | 1.2378 | 2.101 | P | 0.45 | 0.23769 | --- | 58
1 | 11 | 2000 | Set 1 2 kg | 5 | 0.46 | 0.5 | 0.53048 | 0.50994 | 21 | 0.22962 | 0.2106 | 22 | 0.09869 | 0.75 | 0.53254 | 21 | 0.42 | 0.2106 | 22 | 0.397 | 2.151 | 2.0181 | Fail | 3.3456 | 2.4086 | Fail | 0.75 | 0.42 | 0.2106 | 21
1 | 11 | 2000 | Set 1 2 kg | 7 | 0.46 | 0.5 | 0.73556 | 0.52058 | 26 | 0.36954 | --- | --- | 0.38176 | 0.73556 | 0.52064 | 26 | 0.37 | --- | --- | 0.38174 | 0 | 2.0066 | P | 1.0025 | 2.1943 | P | 0.73556 | 0.36977 | --- | 52
1 | 11 | 2000 | Set 1 2 kg | 28 | 0.46 | 0.5 | 0.6 | 0.50701 | 25 | 0.21 | 0.21 | 26 | 0.19661 | 0.6 | 0.50636 | 25 | 0.2 | 0.21 | 26 | 0.19673 | 0 | 2.0086 | P | 1.1025 | 2.2303 | P | 0.6 | 0.20506 | 0.21 | 50
Note on I5: Includes 2 * RSS of s(p) and u(s).
Note on P5: Includes 2 * RSS of s(p) and u(s).
Note on AC5: Section 8.4 (NISTIR 6969), 2018

## Summary Stats E.g. 2
Statistical Summary for Chart and Data Analysis
Evaluation Date: |  |  | 2018-03-19
Enter | Enter | Enter | Enter | Enter | Enter | Enter
Station | Balance | Nominal Mass (g) | Check ID | SOP | Reference Corr (mg) | Ref U (mg)
1 | 11 | 2000 | Set 1 2 kg | 5 | 0.45 | 0.5
2017
Enter | Calc | Enter | Enter | Enter | Enter | Calc | To Do: Unc adj for d.f. eff
Mean CM(Sc) (mg) | U est (mg) | Current d.f. | s(t) (mg) | Pooled s(w) (mg) | d.f. for s(w) | E(n)
0.53048 | 0.50994 | 21 | 0.22962 | 0.2106 | 22 | 0.11269
2018
Enter | Calc | Enter | Enter | Enter | Enter | Calc | To Do: Unc adj for d.f. eff
Mean CM(Sc) (mg) | U est (mg) | Current d.f. | s(t) (mg) | Pooled s(w) (mg) | d.f. for s(w) | E(n)
0.45 | 0.50592 | 42 | 0.25 | 0.2106 | 22 | 0
t-test | t-calc | P/F | F-test | F-calc | P/F
1.2727 | 1.9983 | P | 1.1854 | 2.2374 | P
Pooled Data
Pooled mean | Pooled s(t) | Pooled' s(w) | New df
0.47683 | 0.2434 | 0.2106 | 63
Note on B10: Includes 2 * RSS of s(p) and u(s).
Note on B15: Includes 2 * RSS of s(p) and u(s).