Instructions:  complete one PT Follow-up Form per PT and per laboratory (do not complete one form for each staff member).  Questions and directions are written to elicit descriptions, observations, and explanations and not Yes/No answers.  This form may be used to summarize critical PT highlights that will be used in laboratory Management Reviews.

| Laboratory |  |
| --- | --- |
| Date |  |
| Completed By |  |
| PT Measurement Parameter, Range, and Scope Description |  |
| PT Identification (OWM Code) |  |
| List of Participating Personnel (6.2) |  |

| Assessment | Results and Evidence |
| --- | --- |
| Executive Summary. Include summary and highlight the PT findings that can be used in the Management Review. (For example, total number of points, number passing/failing percentages, lessons learned, opportunities, corrective action already taken, etc.) |  |
| PT Failures. Describe all laboratory failures that were identified in the final PT report (or additional failures or concerns identified outside the report). |  |
| Analysis and Action Plan. Describe the analysis and investigation of Root Cause Analysis, Risk/Opportunities, Improvement Action, , and Corrective Action(s). (Section 8.5, 8.6, 8.7) |  |
| Deadlines. List the deadlines for the completion of each action item and identify the personnel responsible for implementing and monitoring the results of each action. |  |
| Uncertainties (7.6., 7.8.6). Describe the uncertainty assessment. Questions to consider include: How did the reported uncertainty compare to other participating laboratory values? Was the correct k factor used? If the laboratory (or laboratory participant(s)) uncertainty value(s) were at the high end of the uncertainties, explain why. Could a better procedure or instrument have been used? If at the low end, was the value calculated correctly? Why is it smaller than the values reported by other laboratories? Explain if all appropriate uncertainty components were included (or why they were not included). Describe the planned measurement process and/or actual procedure used for the PT (higher/lower echelon procedure). |  |
| Uncertainty versus Applicable Tolerances (7.8.6). Describe the Precision assessment results for this proficiency test. This assessment reviews the laboratory Uncertainty compared to the applicable Tolerances. Analysis questions to consider include: Was a precision test conducted as a part of the analysis? If yes, explain why there any ranges with unacceptable results. If no, conduct the precision analysis now. The calculation evaluates the reported uncertainty(expanded at k=2) against the tolerances required for the equipment with any uncertainty to tolerance ratios considered. Was the uncertainty reported acceptable/appropriate for the level of work? Could the uncertainty be improved with different equipment or procedures? |  |
| Offset/Bias Assessment (7.7). Was bias observed in the PT also observed in other types of measurement assurance charts in the laboratory? Describe or summarize the bias and offset of the laboratory PT. Consider the following analysis questions: Was a Youden analysis or En analysis conducted? Were the reported values outside the Youden chart circle or was the En value greater than 1? If values were outside the circle or the En value is greater than 1, a measurement bias was indicated. If a bias was present, are there any overriding reasons for it? An investigation generally needs to be conducted looking for common errors and problems: e.g., apparent mass vs brass rather than conventional mass, incorrect values for the standard used, errors in software used for calculations, deviations from SOPs (using tap water for gravimetric calibration), need for calibration of standards. Conduct an investigation of bias (even if values passed the Youden and En analyses) against internal calibrations, control charts, PMAP charts, previous PT results or recent calibrations to find out if there is correlation of the ILC data with internal laboratory data. Was the bias for all laboratory participants similar? If not, describe why. |  |
| Records (7.5, 7.8, 8.4). Describe the assessment in place to track PT data over time within the laboratory and evaluate the data against previous results and other data. Ensure that the final results were entered in laboratory PT log and identify the high-level summary data that will be included in the Management Review (8.9). |  |
| Non-Measurement Result Observations or Failures. Describe any additional feedback related to the PT planning, scheduling, evaluation (e.g., delays) or reporting results (e.g., calibration certificate review, 7.8) that were provided as a part of this PT. |  |