## START HERE Cover Sheet
OSAC Program Office Use Only
This Comment Adjudication cover sheet is to be completed by the SC Chair or Technical Point of Contact during the Comment Adjudication Process.
Document Title: | 2022-S-0019 Standard Guide for Forensic Examination of Fibers
OSAC Unit | Trace Materials
Unit Chair
Name: | Diana Wright
Affiliation:
Unit Technical Contact
Name: | Candie Shegogue
Affiliation:
QTG review | within SC review
Resolution Vote Outcome. | Yes: 24 Votes No: 0 Votes Abstain: 0 Vote (out of 31); 1/27/2023
Google Form URL To Edit and Update with Vote Outcome. Click this link to edit the original form submission. | Update OSAC Form 02 - Proposed Standard Approval here, with Adjudication Info and SC Vote
https://docs.google.com/forms/d/e/1FAIpQLSfNnhjMRfMnbuEXrT2zV-bLw9nJnxQlKsbJM0ZipfJV1vdHwg/viewform?edit2=2_ABaOnudP52ap_pEmnmDll_mBc0QOyCLE_Bunqgfs8JNXO181n6XP0PbNXXbkLVLdpFITMe4
Categories for adjudication of all PUBLIC COMMENTS.
Resolution /Disposition ---- Term | Definition
Not germane | The comment is not relevant to the document or its scope.
No response needed | The comment either supports the standard as written or does not seek any change to it.
No change | The OSAC Proposed standard will not be revised based on this comment.
Revision will be made | The OSAC Proposed standard will be revised based on this comment.
Withdrawn | The commenter withdrew the comment.
*If multiple comments are similar, the adjudication should be consistent across all comments. OPO will review the adjudication to ensure similarity in the Type of Adjudication (e.g., No change, Revision will be made, etc.) and similarity in the justification wording. This check is to ensure that the adjudication documents published to the OSAC Public Document Repository provides viewers a clear understanding of the unit's position.
Key
You can use this language in the Rationale
No Response is Needed
Must provide a Justification for Resolution Rationale

## Comments
|  |  |  | Standard Number | 2022-S-0019
|  |  |  | Standard Title | Standard Guide for Forensic Examination of Fibers
Date of Open Comment Submission
|  |  |  | Name of Commenter(s) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Organization of Commenter (if any) | Various commenters below (see contact info on "Commenter Info" sheet)
|  |  |  | Email Address of Commenter (will not be published) | Various commenters below (see contact info on "Commenter Info" sheet)
TABLE OF COMMENTS | Comment # | Document Line Number | Name of Commenter | Current Language | Suggested Language or Revision | Rationale | Resolution /Disposition | Subcommittee Response/Rationale | Notes (optional field) | QTG Adjudication Review of Public Comments - Summary comments
Public Comment |  | None received | [7 empty] | None to provide. QTG reps reviewed adjudication within the SC.
Task Group Comment | 1 | 116-125 | Pate Skene, HFTG | Missing language in section 6.1 | It is suggested to add the following language at the end of the section: “Examiners should document their decisions re: sample size, variability, etc., before beginning analyses.” | Contemporaneous documentation is important at all stages of analysis (pre-, during and post-). Notes should be accurate and sufficient to allow independent review, if needed. | Revision will be made | Contemporaneous documentation is addressed in section 12. The following revision was made to clarify further "12.1 Contemporaneously record all observations made during case assessment and examination."
Task Group Comment | 2 | 116-125 | Pate Skene, HFTG | 6.2 As practicable, evaluate questioned fibers prior to known fiber samples during the examination process. | It is suggested to amend to the following language: “The examiner should evaluate the questioned fibers prior to the known fiber samples during the examination. The examiner should document what was found regarding the questioned fibers before beginning the comparison process.” | Documentations of all observations to questioned samples is essential. This sequential unmasking of the evidence is to minimize potential cognitive bias when examining the known samples. See recent paper by Quigley-McBride et al (2022) as an example: https://www.sciencedirect.com/science/article/pii/S2589871X22000018 | No change | Statement unaltered. There are circumstances that may require assessment of the known prior (e.g. targeting of specific fibers within a large population of recovered quesioned fibers). The Fiber Task Group believes the statement should remain simplified/broader to account for these types of situations.
Task Group Comment | 3 | 116-125 | Pate Skene, HFTG | 6.3 During case assessment, the examiner is cognizant of potential biasing effects resulting from task-irrelevant information | It is suggested to amend to the following language: “As practicable, the person who did the initial case assessment should not be an examiner who does the comparison because of likely exposure to task-irrelevant information. If those tasks cannot be done by different personnel, (a) the examiner should be cognizant of potential biasing effects of the task-irrelevant information and (b) the examiner’s results should be verified by another examiner.” | Mere awareness is not sufficient to combat cognitive bias in forensic science. The procedure should reflect on current best practices on minimizing exposure to biasing information to examiners. Here, we suggested a flexible approach, by adding “as practicable” In addition, this document does not mention any form of verification (blind or not) for the initial analysis. Unlike other comparison sciences (e.g., friction ridge/ fingerprints), this procedure fiber examination seems to lack explicit steps on verifications. | Revision will be made | Section added for bias and mitigation procedures. Verification added to sections 6.2.5 and 12.3.
Task Group Comment | 4 | 184 & 440 | Pate Skene, HFTG | N/A | Additions should be made in the Procedure (section () and Figure 1 to include Comments 1-3 above. These can include the language above and/or reminders, such as to do the unknown sample first, documenting WHAT the unknown sample is (how many fibers, size, etc) before they start, etc. | See rationales for Comments 1-3, above. Contemporaneous documentation is important at all stages of analysis (pre-, during and post-). Notes should be accurate and sufficient to allow independent review, if needed. "Documentations of all observations to questioned samples is essential. This sequential unmasking of the evidence is to minimize potential cognitive bias when examining the known samples. See recent paper by Quigley-McBride et al (2022) as an example: https://www.sciencedirect.com/science/article/pii/S2589871X22000018" "Mere awareness is not sufficient to combat cognitive bias in forensic science. The procedure should reflect on current best practices on minimizing exposure to biasing information to examiners. Here, we suggested a flexible approach, by adding “as practicable” In addition, this document does not mention any form of verification (blind or not) for the initial analysis. Unlike other comparison sciences (e.g., friction ridge/ fingerprints), this procedure fiber examination seems to lack explicit steps on verifications." | Revision will be made | Contemporaneous documentation is addressed in section 12. The following revision was made to clarify further "12.1 Contemporaneously record all observations made during case assessment and examination." Section added for bias and mitigation procedures. Verification added to sections 6.2.5 and 12.3.
Task Group Comment | 5 | 411-414 | Pate Skene, HFTG | 11.5 Background information regarding the potential sources involved, possible prior contact, and the environment where questioned fibers were recovered affects the significance of the association. Be cognizant of potential biasing effects resulting from task-irrelevant information (39, 40). | May add examples to clarify task-relevant/ task-irrelevant information. These can also be included in section 6.3 above. Please see discussion in Rationale | It was noted 11.5 as being a lot like 6.3. – This one is a problem because, it seems, that to “interpret” the results – the analysts might need to know something things like there was wine or blood spilled on some of the carpet – which could be task relevant but also biasing? But maybe not really biasing if they don’t know the story of how it got there. E.g., the suspect’s blood was splattered on the carpet – definitely no need to know that there was even a suspect ! On top of the above, offering examples of task-(ir)relevant info might be beneficial for the for the users of the standard. | Revision will be made | Contemporaneous documentation is addressed in section 12. The following revision was made to clarify further "12.1 Contemporaneously record all observations made during case assessment and examination." Section added for bias and mitigation procedures. Verification added to sections 6.2.5 and 12.3.
Task Group Comment | 6 | 122-24 | Andrea Roth, LTG | 6.2 As practicable, evaluate questioned fibers prior to known fiber samples during the examination process. 6.3 During case assessment, the examiner is cognizant of potential biasing effects resulting from task-irrelevant information (1). | Add further specific guidance as to the special circumstances, if any, that would allow an examiner to evaluate a known sample before a questioned sample. Also add a requirement that the examiner, if exposing themselves to the known sample first, document this fact in the report. | We applaud the subcommittee for explicitly acknowledging human factors considerations, and urge a bit more content on 6.2 (otherwise, an examiner might too easily decide that it is “[im]practicable” to mask themselves from the known sample, even though that would be critical to debiasing. | Revision will be made | See response/rationale for Comments 1-3.
Task Group Comment | 7 | 184-349 | Andrea Roth, LTG | §9 (entire section) | Provide reasonable estimates of error probabilities for each method. If no estimates are possible, acknowledge that limitation on the use of the method. | Estimates of conditional error probabilities for each enumerated method should be provided to better describe the limitations of the methods and their relative advantages and disadvantages. | No change | Validated conditional error probabilities for each method have not been established. As such it would be inappropriate/misleading to include.
Task Group Comment | 8 | 355-56 | Andrea Roth, LTG | 10.2 The comparative analysis of two or more fibers involves the evaluation of physical characteristics, optical 356 properties, color, and chemical composition. | 10.2 Unless an exclusionary difference is encountered in applying the first analytical method, the comparative … | A previous section stated that an examination could stop with the first exclusionary difference detected. Is color not an optical property? | No change | With analytical techniques such as microscopy you may see more than one difference noted concurrently so this language is appropriate. Language modified to better define color.
Task Group Comment | 9 | 357-60 | Andrea Roth, LTG | 357 10.2.1 If one or more exclusionary differences are recognized between compared fibers based on the measured or 358 observed characteristics, the sources of these fibers are distinguishable. In fiber comparisons, this is described as an 359 exclusion or elimination: two or more fibers are excluded as having originated from the same source based on the 360 sample provided (38). | 10.2.1 If one or more exclusionary differences are recognized between compared fibers, they are believed to have come from different sources. | More precise phrasing. Sources can be distinguishable regardless of whether the trace fibers are, and the word “distinguishable” normally applies to the items being compared. Distinguishable items have dissimilar measurements (measurement differences fall outside the expected range for items that come from the same source). Indistinguishable items have the same properties within the limits of detection. That is how “distinguishable” is used in §101.2.2 [sic - should be 10.2.2]; cf. §11.4 (using the phrase “discriminate between fibers” rather than “discriminate between sources”). | Revision will be made | See revision in response to STRP 84.
Task Group Comment | 10 | 363-64 | Andrea Roth, LTG | source association based on class characteristics, indicating the possibility that the fibers originated from the same source. | Change the term “source association” to “no exclusionary differences found through this technique” or something similar. | The term “association” might sound sufficiently conservative to trained FSPs, but to a lay juror or judge it sounds like an opinion that the two are likely to be “associated” with each other, i.e., come from the same source. We realize this is not the intention (as clear from the next sentence in the standard). | Revision will be made | Language modified to "source level association" to clarify.
Task Group Comment | 11 | 361-65 | Andrea Roth, LTG | 101.2.2 If no exclusionary differences are recognized between compared fibers based on the measured or observed 362 characteristics, the sources of these fibers cannot be distinguished by these techniques. In fiber comparisons, this is 363 described as a source association based on class characteristics, indicating the possibility that the fibers originated 364 from the same source. Since different fiber sources can share class characteristics, this opinion does not indicate that the fibers came from a specific source. | 10.2.2 If no exclusionary differences exist between compared fibers, they either came from the same source or from different sources with similar characteristics. | (1) There is no antecedent for “these.” (2) The items being compared – not their sources – fail to be distinguished from one another. A failure to exclude implies a source association of unstated probative value.(3) Each fiber had to come from a specific source (they did not come from a general source). The issue is whether they came from the same specific source. | Revision will be made | "the fibers cannot be distinguished by these techniques. In fiber comparisons, this is described as a source level association based on class characteristics, indicating the possibility that the fibers originated from the same source. Since different fiber sources can share class characteristics, this opinion does not indicate that the fibers came from a specific source."
Task Group Comment | 12 | 406-10 | Andrea Roth, LTG | If an analytical scheme is not inclusive of the assessment of the physical characteristics 407 and 408 optical properties, analysis of color, and analysis of chemical composition when applicable, then a qualifying 409 statement is 410 warranted. | Add at the end, “specifically, the examiner should state…” and add specific qualifying wording that an examiner should use. Also consider stating “the examiner should not render an opinion on the possible association of the samples if the analytical scheme does not include an assessment of these factors.” | It’s not clear why an examiner whose technique did NOT assess these critical factors should ever be rendering an opinion on possible exclusion. Also, giving the examiner full discretion in determining the content of the “qualifying statement” might lead to insufficiently clear or conservative statements, and more specific guidance is warranted. For example, perhaps tell examiners to state, “The testing in this case did not assess all potentially relevant physical characteristics that could affect a determination of whether samples derived from the same class or source.” | No change | Outside the scope of this document – to be addressed in an interpretation document.
Task Group Comment | 13 | 398-400 | Andrea Roth, LTG | Stating results in cases involving, e.g., “discoloration” | Make clearer in this section that examiners should not be opining that 2 samples came from the same source, or that two samples are “indistinguishable,” merely because circumstances like discoloration affect the examiner’s ability to state exclusion with confidence. | We understand that circumstances like discoloration can affect the determination of an “exclusionary difference” but what should be avoided is stating something that a juror or judge will take to mean affirmative “inclusion” rather than a merely inconclusive analysis. | No change | Outside the scope of this document – to be addressed in an interpretation document.
Task Group Comment | 14 | 408-10 | Andrea Roth, LTG | a qualifying 409 statement is 410 warranted. | Please state the qualifying statement that should be provided (or at least an example). Also, change “warranted” to “necessary.”. | Some elaboration on the type of qualifying statement that is necessary (a more appropriate term than “warranted” here) would be helpful. | No change | Example qualifying statement is outside the scope of this document – to be addressed in an interpretation document.
Task Group Comment | 15 | 411-14 | Andrea Roth, LTG | 11.5 Background information regarding the potential sources involved, possible prior contact, and the environment 412 where 413 questioned fibers were recovered affects the significance of the association. Be cognizant of potential biasing effects 414 resulting from task-irrelevant information (39, 40). | Include a section with procedures to insulate examiners from task-irrelevant information. Describe the type of “background information” that is relevant. State whether it is potentially biasing and what, if anything, should be done about that. | It seems like the second sentence is meant to refer to task-relevant information. Why expose examiners to task-irrelevant information? Is not that the opposite of what the references cited recommend? | No change | See 6.2 addition. Provides ways to mitigate bias.
Task Group Comment | 16 | 427-28 | Andrea Roth, LTG | end of documentation section | Add a requirement that the report include acknowledgement of any limitations on the results. | We appreciate how 2022-S-17 notes the limits of techniques like MS, and while FSPs might understand these limits after being trained on them, legal actors (e.g. lay jurors and judges and parties) won’t necessarily know them. The report should thus include an acknowledgment of these limits (e.g. that this technique is affected by X and Y and can’t be used to determine if the samples came from the same source, etc.). | Revision will be made | Language edited to reflect strengths and limitations of analysis.
Task Group Comment | 17 | 442-534 | Andrea Roth, LTG | References | Cite more of the forensic-statistics literature on the evidentiary value of fibers as affected by activity-level factors. | We think there may be more literature on the evidentiary value of fiber evidence (modeling the implications of transfer and persistence) that is cited here. | Revision will be made | Added two additional general references. Additionally, Standard Practice for a Forensic Fiber Training Program (WK78748) has an extensive reference section for transfer and persistence.
STRP Comment | 1 | 7 | emp | "be of value to their examinations." | "be of value." | examinations already mentions earlier, seems wordy and a little confusing as written | No change | Consensus amongst group that statement is clearer without change.
STRP Comment | 2 | 14 | emp | "does not purport to address" | "does not address" | if it does not address all safety concerns, better to just say that. | No change | Standard ASTM required statement.
STRP Comment | 3 | 57 | M.A. Ausdemore | See D7641 | D7641 | When other definitions reference a documents, they just state the document number that should be referenced, rather than "See xxxx". | Revision will be made
STRP Comment | 4 | 64-65 | emp | "produced from fiber-forming substances…" | "produced from substances" | already talking about fibers being formed, too wordy | No change | This definition is quoted directly from source (E2228).
STRP Comment | 5 | 70 | Cary Oien | a class name for various genera of fibers (including filaments) of: (1) animal (that is, silk and wool); (2) mineral (that is, asbestos); or (3) vegetable origin (that is, cotton, flax, jute, and ramie). | Suggest replacing "that is" with "for example" or "e.g." | "That is" is typically used to state something said previously to clarify its meaning to give greater precision, and usually lists all members of the subset. As written, it seems that this applies only to the members listed in the parentheticals. For example, this guide does not apply to the examination of sisal, hemp, kenaf, coir, etc. | No change | This definition is quoted directly from source (E2228).
STRP Comment | 6 | 98 | Cary Oien | …color… | …spectral properties… | The typical definition of the term "Color" does not encompass the full breadth of spectral analyses that can be conducted on fibers (UV, fluorescence, NIR) | Revision will be made | Modified to the following: "...wide range of physical characteristics, including color, optical properties, spectral properties, and chemical compositions..."
STRP Comment | 7 | 98 | emp | "properties, color, and chemical composition." | " properties and chemical composition" | Color is a physical characteristic. Is it being separated out because you talk later about color measurement methods. If you want it separate, maybe add color by saying "physical characteristics, including color,…" This applies to future references to color category as well | Revision will be made | Modified to the following: "...wide range of physical characteristics, including color, optical properties, spectral properties, and chemical compositions..."
STRP Comment | 8 | 105, 109 | Sekedat |  | Extra space |  | Revision will be made
STRP Comment | 9 | 111 | Cole | the type and color | the type, color, and frequency | Wouldn't it influence the frequency too? | Revision will be made
STRP Comment | 10 | 112 | Cary Oien | ...microscopic characteristics and optical properties… | …microscopic properties, optical properties, and spectral properties… | Suggest you incorporate spectral properties here if spectral properties are incorporated elsewhere | Revision will be made | Modified to the following: "...wide range of physical characteristics, including color, optical properties, spectral properties, and chemical compositions..."
STRP Comment | 11 | 113 | Sekedat | "… and exposure to various environmental conditions." | “post-manufacturing changes (e.g., exposure to various environmental conditions, chemicals, etc)” | Something more generic since there are other factors | Revision will be made
STRP Comment | 12 | 118 | Sekedat | "… or identified" | Replace with "and/or" |  | No change | ASTM formatting guidelines do not allow for "and/or".
STRP Comment | 13 | 118 | Cary Oien | …are to be compared or identified. | …are to be compared. | Unsure why you need the second clause "or identified". It could cause confusion that this is an identification discipline. Suggest you delete. | Revision will be made | Modified to "...are to be analyzed."
STRP Comment | 14 | 118 | Cole | the examiner determines | the examiner shall determine | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 15 | 119 | Sekedat | "…, condition…" | perhaps something more specific? | Not sure what is meant by "condition" since other conditions are being listed. | The OSAC Proposed standard will be revised based on this comment. | Modified to "...sample condition..."
STRP Comment | 16 | 119 | emp | "relevant case circumstances" | ? | what are "relevant case circumstances" ? Because of the concern of bias referred to below it may be important to give some explanation of this terminology. As a subsection? | Revision will be made | Modified to "evidential value".
STRP Comment | 17 | 120 | emp | "taken into account and the examiner…" | "taken into account. The examiner…" | Run on sentence that may confuse because of all the information that is included in the sentence. | Revision will be made
STRP Comment | 18 | 122 | Cole | As practicable, evaluate | As practicable the examiner shall evaluate | ASTM style | No change | See comment 14 response.
STRP Comment | 19 | 123 | Sekedat | 6.3 | Swap as 6.1; Also suggest adding "Assesing probative value/relevance of the exam" | Seems in the flow of casework, this should be considered first. | Revision will be made | Evidential value added to 6.1. Section reworked to better address ways to mitigate bias.
STRP Comment | 20 | 123 | emp | "during case assessment…" |  | does this relate to "relevant case circumstances" or in general? Cognizant meaning work to prevent potential biasing effects? The wording seems a little confusing. | Revision will be made | Statement removed and reworked.
STRP Comment | 21 | 123-24 | Cole | During case assessment, the examiner is cognizant of potential biasing effects resulting from task-irrelevant information. | During case assessment, the examiner shall not be exposed to task-irrelevant information. | Self-awareness is not an effective bias control measure. Examiners need to avoid exposure to task-irrelevant information, not expose themselves to it and then try to self-control its effects on their cognition. | Revision will be made | Section reworked to better reflect methods to mitigate bias.
STRP Comment | 22 | 128 | Cole | Follow | The examiner shall follow | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 23 | 130 | Cole | develops | shall develop | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 24 | 132 | Cole | Collect | The examiner shall collect | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 25 | 136 | Cole | consider | the exminer shall consider | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 26 | 137 | Runt | Examiners should confer before work is undertaken | Examiners from the different sub-disciplines should confer before work is undertaken to ensure the proper examination order… | Make it clear these are examiners from DNA, trace, fingerprints, etc, not just the trace examiners | Revision will be made
STRP Comment | 27 | 137 | Cary Oien | Examiners should confer… | Examiners may confer… | As written, this conversation should happen most of the time and ergo should be documented in the case file. In reality, most laboratories have well established procedures that dictate the flow of evidence which already address this matter. | Revision will be made
STRP Comment | 28 | 137 | emp | "that fiber examinations have on the ability…." | "that fiber examination may have on future analyses of other examiner." | reduces words and makes the point quickly | Revision will be made
STRP Comment | 29 | 138 | Sekedat | "… should confer before" | Insert "with the appropriate discipline expert" | clarification | No change | Reference changes made to document based on comment 26.
STRP Comment | 30 | 139 | Cole | are collected | shall be collected | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 31 | 140 | Cole | are collected | shall be collected | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 32 | 142 | Sekedat | "Exams" | Change to "Examinations" |  | Revision will be made
STRP Comment | 33 | 144, 145, 152, 153 | Sekedat |  |  | Extra spaces | Revision will be made
STRP Comment | 34 | 144 | Cole | are conducted | shall be conducted | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 35 | 146 | Cole | are performed | shall be performed | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 36 | 148 | Cole | are analyzed | shall be analyzed | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 37 | 148-150 | M.A. Ausdemore | This analysis requires a sufficient number of analytical techniques to unequivocally place the questioned fiber into one and only one generic class. | 1. What is "a sufficient number of analytical techniques"? Is this number left up to the practitioner? 2. "unequivocally" seems like a strong term to use here. If there is any uncertainty associated with determining the class of fibers, I'm not sure the word "unequivocally" should be used. | Some clarifications may be needed. | Revision will be made | Language simplified: "This examination relies on analytical techniques to place the questioned fiber into one and only one generic class."
STRP Comment | 38 | 149 | Cole | unequivocally | consider deleting | Since it already says it must be placed into one and only one class, this is redundant and may confuse more than it clarifies | Revision will be made
STRP Comment | 39 | 153 | Cole | mineral | clarify | What is the difference between "mineral" and "geological"? | Revision will be made | Modified to "mineral" for consistency.
STRP Comment | 40 | 155 | Cole | are conducted | shall be conducted | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 41 | 156 | Cary Oien | …color… | …spectral properties… | The typical definition of the term "Color" does not encompass the full breadth of spectral analyses that can be conducted on fibers (UV, fluorescence, NIR) | Revision will be made | Modified to the following: "...wide range of physical characteristics, including color, optical properties, spectral properties, and chemical compositions..."
STRP Comment | 42 | 157 | emp | "sample in order to assess" | "sample to assess" | remove excess language | Revision will be made
STRP Comment | 43 | 161 | Sekedat | "Certain fiber types…" | Suggest to add clear/colorless round polyester as these fibers are also very common and can be difficult to differentiate |  | Revision will be made
STRP Comment | 44 | 165 | Sekedat | "Production" as a sub-heading | Suggest to make Textile Production it's own new heading | Formatting | Revision will be made | Section deleted.
STRP Comment | 45 | 166-177 | Cole |  | consider deleting | This is interesting material, but it's unclear why a detailed discussion of the two most common fibers should be included in a Standard. If discussing these two fibers, why not discuss some of the rarer ones? | Revision will be made | Section deleted.
STRP Comment | 46 | 186 | M.A. Ausdemore | Select known sample(s) representative of the observed variation (e.g., color, texture, luster) within the textile. | Consider making it distinct that this is a specific source (K to Q) problem. | A common source (Q to Q) evaluation would not start out by selecting known samples. | Revision will be made | Modified to: "9.1 Select sample(s) representative of the observed variation (e.g., color, texture, luster) within the textile to serve as a known reference of the material.
STRP Comment | 47 | 186 | Cole | Select | The examiner shall select | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 48 | 186-189 | Sekedat | "Select known sample(s)…" | Suggest switching order of these setences to something like "Observable differences could arise… Therefore, care should be taken when selecting known sample(s)…" | Clarity | Revision will be made | Modified to: "9.1 Select sample(s) representative of the observed variation (e.g., color, texture, luster) within the textile to serve as a known reference of the material.
STRP Comment | 49 | 190 | Runt | Techniques for the identification and comparison of fibers… | Add language about performance check of instrumentation (not exactly sure where in section this should go) | Proper sample prep is discussed, as well as determining the order of analysis, but the examiner must make sure the instrumentation is owrking properly prior to analysis (even Koehler illumination, when possible, prior to PLM work) | No change | Outside the scope of this document. Serves as a guide to select fiber examination techniques but an in depth discussion of instrumentation and necessary performance checks can be found in other referenced test methods/standards.
STRP Comment | 50 | 193 | Cole | will depend | shall depend | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 51 | 198 | Cole | are exhausted | shall [or at least should] be exhausted | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 52 | 199 | emp | "destroy the sample. If…" | should an additional sentence be added? "Proper notifications should be made before consuming or destroying a sample, according to laboratory guidelines." |  | No change | This is dictated by lab specific quality assurance/standard operating procedures and falls outside the scope of this document.
STRP Comment | 53 | 201 | Cole | are left | shall be left | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 54 | 202 | Cole | employs | shall employ | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 55 | 202 | Sekedat | "… light microscope…" | Delete "light microscope" | Unclear for the need to say just light microscope since stereo and PLM are listed. | No change | Light microscope references high magnification transmitted light.
STRP Comment | 56 | 203 | Cole | uses | shall use | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 57 | 205 | Cole | views | shall view | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 58 | 207 | Cole | employs | shall employ | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 59 | 209 | Cole | is strongly recommended | shall be used | ASTM style. I will stop adding "shall" statements here, but I recommend the whole document be edited to change present tense verbs to imperative "shall" statements. | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 60 | 214 | emp | "through 9,8 in order to provide…" | "through 9.8 to provide" | excess language | Revision will be made
STRP Comment | 61 | 231-240 259-267 321-326 331-338 | Cary Oien |  |  | Choose a paradigm for bulleted lists and make all the same. Some have semicolons (for all but the last entry), some have periods. | Revision will be made
STRP Comment | 62 | 251 | Cole | microspectrophotometry or TLC | MSP or TLC | Abbreviation for MSP is provided on line 207 | Revision will be made
STRP Comment | 63 | 251 | Cole | is documented | shall be documented | ASTM style | No change | This document is being submitted as a guide and not a test method. For that reason this language cannot be used. From the ASTM Blue Book: C15.2 A standard guide is a compendium of information or series of options that does not recommend a specific course of action. Guides are intended to increase the awareness of information and approaches in a given subject area. Guides may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide may propose a series of options or instructions that offer direction without recommending a definite course of action. The purpose of this type of standard is to offer guidance based on a consensus of viewpoints but not to establish a standard practice to follow in all cases. A guide is intended to increase the awareness of the user concerning available techniques in a given subject area, while providing information from which subsequent testing programs can be derived.
STRP Comment | 64 | 253 | Sekedat |  | Include (MSP) after the term | Define the acronym used later. | No change | Resolved due to changes in response to comment 62.
STRP Comment | 65 | 254 | Sekedat |  | Extra space before light |  | Revision will be made
STRP Comment | 66 | 254 | Cole | visible light | visible light | Close space | Revision will be made
STRP Comment | 67 | 255-256 | Cary Oien | …can be further analyzed in the UV region using MSP. | …can be further analyzed in the UV and NIR region using MSP. | Consider adding the NIR region, since that is specifically addressed in the MSP document. | Revision will be made
STRP Comment | 68 | 253 - 255 | emp | "absorption of visible light…in the UV region using" | define visible, UV wavelength ranges. |  | No change | Detailed information with regards to these ranges can be found in specific standards/guidelines referenced.
STRP Comment | 69 | 262 | Cary Oien | …by sample handling, physical damage or environmental factors. | …by environmental factors, physical damage or sample handling. | Suggest putting the most likely source of degradation first. | The OSAC Proposed standard will be revised based on this comment.
STRP Comment | 70 | 266 | Cary Oien | Inability to differentiate between individual dye components. | Delete | MSP cannot do this, so why list it? You don't cite the inability of MSP to distinguish polymer type, because it can't do it. Same applies here. | No change | As textile color typically results from a mixture of dyes it is important to emphasize that MSP is not a dye analysis technique and additional techniques are necessary to identify individual dye components (e.g. see TLC below).
STRP Comment | 71 | 266 | emp | "inability to differentiate between individual dye components" | "Individual dye components may not be differentiated." | parallel construction with other bullets | Revision will be made
STRP Comment | 72 | 267 | emp | "Potential for photobleaching of fiber samples." | "Photobleaching of fiber samples may occur." | parallel construction with other bullets | Revision will be made
STRP Comment | 73 | 269 | Cary Oien | …that are difficult to distinguish… | …that may be difficult to distinguish… | As written, it appears that this is the norm, as opposed to an infrequent occurrence. | Revision will be made
STRP Comment | 74 | 281 | Sekedat |  | (FTIR) | Define the acronym used later. | No change | Defined in 9.3 - acronym not used used because start of bullet/sentence.
STRP Comment | 75 | 282 | emp | "radiation to obtain…" | "radiation ( …wavelength?) | define wavelength range | No change | Detailed information with regards to these ranges can be found in specific standards/guidelines referenced.
STRP Comment | 76 | 293-349 | Cary Oien | Additional techniques |  | Each of the previous sections (microscopy, MSP, TLC, FTIR) each reference a separate ASTM Guide, which I assume discusses the conduct of the technique as well as decision criteria for the technique. None of the techniques described here (CE, Py, Raman, HPLC, XRF, et al.) have a similar reference to an existing guide, which means you are supplying no guidance on how to conduct these techniques and more importantly, no decision criteria to evaluate the results from the use of the techniques. | Revision will be made | No standards available however references included for each of these techniques.
STRP Comment | 77 | 310 | Runt | fiber dyes, pigment components, the polymer, delustrants and fillers | fiber dyes, pigment components, and the polymer, delustrant, and filler compositions OR fiber dyes, pigment components and the polymer, delustrants and fillers | Easier read | Revision will be made
STRP Comment | 78 | 333 | Cole | SEM-EDX | SEM/EDX | Slash is used on line 329. Choose one and keep consistent. | Revision will be made
STRP Comment | 79 | 335 | Runt | Limitations of these (SEM-EDX) techniques… | Add that sample preparation (if carbon coated and placed on carbon taped stub) can hinder analysis of samples afterwards |  | Revision will be made
STRP Comment | 80 | 345 | Cary Oien | Can physically alter or destroy the fiber sample. | Destructive. | The term destructive is used previously; why not here? | Revision will be made
STRP Comment | 81 | 356 | Cary Oien | …color… | …spectral properties… | same as above - The typical definition of the term "Color" does not encompass the full breadth of spectral analyses that can be conducted on fibers (UV, fluorescence, NIR) | Revision will be made | Modified to the following: "...wide range of physical characteristics, including color, optical properties, spectral properties, and chemical compositions..."
STRP Comment | 82 | 357 | Cary Oien | If one or more exclusionary differences… |  | Unsure what the definition of "exclusionary difference" is. | No change | This term is a global term incorporated into Trace Evidence, Trace Materials documents. Put forth to be considered as an OSAC Preferred Term.
STRP Comment | 83 | 357 | M.A. Ausdemore | If one or more exclusionary differences are recognized between compared fibers based on the measured or observed characteristcs, the sources of these fibers are distinguishable. | Just a question: Is there any guidance on a threshold that indicates a difference is an exclusionary difference? This might be worht including in the document. | Clarification | No change | The thresholds/determining factors vary depending on the analytical technique. Details of specific analytical steps and conclusions found in referenced standards/literature.
STRP Comment | 84 | 358 | Cole | the sources of these fibers are distinguishable . | the fibers are distinguishable and are from different sources | Don't you mean that the fibers are distinguishable, and the sources are different? | Revision will be made
STRP Comment | 85 | 361 | Runt | 101.2.2 | 10.2.2 | number correction | Revision will be made
STRP Comment | 86 | 367 | Cole | Evaluation of the Results | The examiner shall report the evidential value of the analysis. | This section says that evidential value depends on many factors, but never says that examiners should report the evidential value. A standard should contain such a statement. | No change | 12.3 Reports are written in accordance with ASTM standards (E620) and include the results of the analysis, an interpretation of the results, and qualifying statements that further describe the strengths and limitations of the evidence. Additionally, a separate interpretation document is being drafted to provide guidance.
STRP Comment | 87 | 367 - 410 | emp | Section on Evaluation of results | Somewhere in the section add a statement such as "chemometric analysis may be appropriate with some findings to provide a meaningful assessment of the significance of a source association." | there is no reference in protocols about potential importance of chemometric analysis. Also, no mention of the subjective nature of comparisons. | No change | Chemometric analysis is outside the scope of this document which serves as a broad overview of analytical techniques employed in fiber analysis. This level of detail/information can be found in specific standards (e.g. WK 78749). Although chemometrics can be utilized there are no established standards detailing its application to casework. Modification to Section 6 now mentions the bias that can occur due interpretation.
STRP Comment | 88 | 367-410 | emp | " | see general comment on email about subjective nature of comparisons - There was no reference to the subjective aspects of the comparison process. I wasn’t sure where to place this, but thought that it was important to mention at the beginning of results or evaluation of results. First, to state the nature of the comparison process, and second, to establish in the standard that this is a recognized part of the accepted data evaluation procedure, especially since there are choices of which procedure will be used and the procedures result in different types of objective data. |  | No change | By definition subjective means rendering an opinion. In the case of fiber examination this would be rendering an expert opinion based on requisite formal education, discipline specific training and demonstrated proficiency to perform forensic case work (Scope 1.2) modifications made to Section 6 to address bias.
STRP Comment | 89 | 369 | Runt | fabric from a person of interest or a scene… | person of interest or a crime scene | clarification | Revision will be made
STRP Comment | 90 | 376-391 | Cole |  | The following factors are considered task-irrelevant to the optical/chemical/instrumental analysis and should be assessed by the case manager OR The following factors are considered task-irrelevant to the chemical/visual analysis and shoiuld be assessed by a separate examiner from the one performing the optical/chemical/instrumental analysis | All or most of these factors seem task-irrelevant to kind of optical, chemical, and instrumental analysis described in section 9. This should be stated and the evaluation of the optical, chemical, and instrumental analysis should be done without exposure to this information. That evaluation could then by combined with an evaluation of the factors described in lines 376-91 by a case manager. Alternatively, if it is believed that fiber expertise is required to evaluate the evidential value of the factors described in lines 376-91, then a separate fiber examiner could be assigned to evaluate the evidential value of these factors. | No change | Modifications made to Section 6 to incorporate more references on bias and bias mitigation. While we agree that the analytical techniques/data analysis can be performed in this manner (e.g using technicians who have no prior knowledge to conduct data collection/analysis followed by a separate interpretation of the information to determine evidential value/significance and report out findings), practically speaking not all labs may have the necessary resources to separate workflow in this manner. This document serves as a broad overview of the fiber examination process - it is up to individual labs to determine how best to implement given their resources.
STRP Comment | 91 | 385 | Cary Oien | A greater number… |  | Suggest you try to be more definitive than "greater". | Revision will be made | Modified statement "As the number of associated questioned fibers increases, so too does the support for recent and direct contact occurring with the known fiber source."
STRP Comment | 92 | 398 | Cary Oien | And environmental factors. | Environmental factors. | Recommend not starting a sentence with "And". | Revision will be made
STRP Comment | 93 | 399 | Sekedat |  | Adjust alignment |  | Revision will be made
STRP Comment | 94 | 405, 407, 409, 410, 412 | Sekedat |  | Adjust spacing/formatting |  | Revision will be made
STRP Comment | 95 | 411-14 | Cole | be cognizant | Examiners evaluating results shall not be exposed to task-irrelevant information. [If possible list or describe task-irrelevant information.] | Self-awareness is not an effective bias control measure. Examiners need to avoid exposure to task-irrelevant information, not expose themselves to it and then try to self-control its effects on their cognition. | No change | See modification of Section 6. A more extensive discussion of mitigation procedures is outside the scope of this document (this will be dictated by individual laboratory quality assurance/standard operating procedures).
STRP Comment | 96 | 416 | Runt | 12. Documentation | Move before Evaluation of Results | Documentation and Procedure should be close to one another, evaluation would be the final step | No change | Location maintained for consistency with other documents.
STRP Comment | 97 | 426 | Runt | 12.4 Examiners follow all accreditation guidelines as appropriate | Move to Section 9, or add it again section 9 | This ties in with making sure quality assurance is followed during analysis; see my Line 190 comment | Revision will be made | Incorporated a more global statement in Section 6.2.
STRP Comment | 98 | 437 | Runt | Instrumental Analysis: SEM-EDS/XRF | Change to SEM-EDX/XRF | consistent acronym with rest of document | Revision will be made
STRP Comment | 99 | 439 - Figure 1 | M.A. Ausdemore | Figure 1 | Maybe consider moving this up higher in the document. I think it's incredibly helpful and would be great to have up at the front for examiners to keep in the back of their mind as they move through the document. | I just watned to say that this is a really nice addition to the document. When I first read through it I though "A flow chart of the process would be super helpful!" and here it is! Good call. | No change

## Commenter Info
Commenter # | Commenter's Name | DO NOT PUBLISH | Commenter's Position/Title | Commenter's Org/Affiliation | DO NOT PUBLISH | Commenter's Email | Date of Open Comment Submission
1 | Pate Skene for Human Factors Task Group consensus |  | Chair | OSAC HFTG |  | pate.skene@colorado.edu | 2022-04-04
2 | Andrea Roth for Legal Task Group consensus |  | Chair | OSAC LTG |  | aroth@law.berkeley.edu | 2022-04-04
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25