## Disclaimer
Disclaimer
These spreadsheets are provided as a useful approach for metrology calculations according to the SOP represented here. However, NIST OWM or any other organization involved in their development, collectively and individually, do not warrant this spreadsheets for any specific purpose, nor do they make any representations regarding their fitness for any use or purpose whatsoever. Each user agrees to decide if, when and how to use the spreadsheets, does so at his or her sole risk, and is responsible to suitable and applicable verification prior to use. When using the tools provided on the NIST OWM website, you agree that you are not entitled to rely on any information generated using these worksheets. You further agree to hold NIST OWM, and any of their partners in the creation of the tools, harmless for loss you might suffer arising out of any inaccuracies in numbers generated by the worksheets. Under no circumstances shall NIST OWM, or any of their partners that helped create the tools, be liable for any damages, including incidental, special or consequential damages, arising from the use of these spreadsheets or an inability to use them.
If you distribute these tools through any means other than the NIST OWM website at www.nist.gov/labmetrology, you should check the website to ensure the tool being provided is the latest version available, and provide information to users on how to check for updates and revisions to the tools.

## Document Control
Owner | NIST Office of Weights and Measures
Tab | Change | Date | Initials
All | Original Files 5/2/2018 | 2018-05-02 | GH
Procedure | Updated SOP draft from 2018 RMAP Reviews | 2018-10-10 | GH

## Procedure
SOP 49, Standard Operating Procedure for Calibration of Environmental Monitoring Standards by Direct Comparison

## Software V&V
Software Technical Assessment
Software Description | SOP 49 Draft Version 1 | Approval Date
Assessed By |  | Approved By
Codes | Assessment | Pass/Fail | Evidence
A. Software Inspection | Spreadsheet is clear and makes sense | Pass
| There are instructions for use | Pass
| Instructions and data input appear on the visible portion of the first worksheet | Pass
| Data-entry fields are labeled and color coded (it is recommended to avoid red and green) | Pass
| The Standard Operating Procedure (SOP) used is clearly specified | Pass
| The number of digits to be rounded to is specified | Pass
| The user is warned/notified whenever data-entry fields are left blank | Pass
| Data-entry fields are “blank” when opened, preventing loss of old data and ensuring that old data is not used with the current calculations | Pass
| The software opens at the right location within the file | Pass
| Unused fields/cells are locked | Pass
| Rows/columns that the operator need not see are hidden | N/A
| Unused sheets are removed | Pass
| Worksheets are named appropriately | Pass
B. Mathematical Specification | The correct SOP is used | Pass
| The formulae and methods chosen from that SOP are specified | Pass
| Sources and references for formulae are specified | Pass
| The chosen SOP, its methods, and its formulae, are appropriate to the level of precision/uncertainty | Pass
C. Code review | The formulae in the fields exactly match the SOP | Pass
| Repeated calculations appropriately reference the correct cells | Pass
| Calculations, when tested using standard data or reference test data, show appropriate accuracy | Pass
| Rounding is done at the appropriate locations in the file | Pass
D. Numerical Stability | Calculations are stable as determined by an evaluation that uses large numbers and small differences | Pass
| Fields, therefore their content, are categorized as “Number” and not “General” when appropriate, and vice versa | Pass
| “Number” cells are locked to a limited number of decimal places; this limit is appropriate to the values being used | Pass
E. Component Testing | Each macro used is functional | N/A
| Each command/button is functional | N/A
| Combinations of interdependent macros are functional | Pass
| Plotted graphs are accurate | Pass
| Worksheets/reports print properly, if needed to | Pass
| Conditional (color and non-color) formatting is functional | Pass
F. Numerical Reference | Look-up tables and lists match the latest calibration report. | Pass
| Uncertainties match the latest Scope | Pass
| Values that reference another workbook or spreadsheet are dated | N/A
| When a master list’s date is updated, the file references (A) an old value, (B) a default value, (C) displays zero or (D) an error message, as desired by the user | N/A
G. Embedded Data Evaluation | Embedded data (conversion factors, reference values, etc) is correct | Pass
| The evaluation of the embedded data is dated and documented | Pass
H. Back-to-Back Testing | Newer spreadsheets and older spreadsheets agree down to the level of intermediate calculations; this evaluation is dated and documented | Pass
I. Analysis With Out Computer Assistance | Hand calculations agree with those generated by the spreadsheet, or if they disagree, the differences are significantly smaller than the reported uncertainty | N/A
J. Security | Equation and calculation cells are protected against inadvertent editing | Pass
| Cells are locked in place; they cannot be moved/dragged | Pass
| Confidentiality of passwords is appropriate | Pass
| Files are backed up automatically | Pass
| Additional back-up is available at alternate facilities | Pass
| Files on network drives cannot be accidentally deleted | Pass

## Calibration
SOP 49, Standard Operating Procedure for Calibration of Environmental Monitoring Standards by Direct Comparison
Laboratory data and conditions:
Operator |  | Laboratory Conditions | Before | After
Date Range |  | Temperature
Replicate standard deviation of the process, from standard deviation chart, sp |  | Pressure
Degrees of Freedom |  | Relative Humidity
Standard(s) data:
ID | Nominala | Correctionb | Measurement Units | Expanded Unc: | Unc. | Unc. Units
|  |  |  | From cal. certificate | k factor
S – temperature
S – pressure
S – relative humidity
a selected reference value from the calibration certificate nearest to normal laboratory conditions.
b taking care to determine directionality as appropriate
Identification of the standards, serial number:
Identification of the standards, calibration source:
Identification of the standards, date of calibration:
Instrument | [5 empty] | Eqn. 1. Observed difference calculation, Option A.
Observations
Date | S (t) | X (t) | S (P) | X (P) | S (RH) | X (RH) | d (t) | d (P) | d (RH)
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[6 empty] | MEAN | 0 | 0 | 0
Incomplete Uncertainty Estimate | T | P | RH |  |  | STD DEV | 0 | 0 | 0
u(s) | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | Cx (t) | Cx (P) | Cx (RH)
s(p) | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2*RSS | #DIV/0! | #DIV/0! | #DIV/0! |  |  | Eqn. 3. Calculation of the Unknown Correction.
Instrument | [5 empty] | Eqn. 1. Observed difference calculation, Option A.
Observations
Date | S (t) | X (t) | S (P) | X (P) | S (RH) | X (RH) | d (t) | d (P) | d (RH)
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[6 empty] | MEAN | 0 | 0 | 0
Incomplete Uncertainty Estimate | T | P | RH |  |  | STD DEV | 0 | 0 | 0
u(s) | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | Cx (t) | Cx (P) | Cx (RH)
s(p) | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2*RSS | #DIV/0! | #DIV/0! | #DIV/0! |  |  | Eqn. 3. Calculation of the Unknown Correction.
Instrument | [5 empty] | Eqn. 1. Observed difference calculation, Option A.
Observations
Date | S (t) | X (t) | S (P) | X (P) | S (RH) | X (RH) | d (t) | d (P) | d (RH)
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[6 empty] | MEAN | 0 | 0 | 0
Incomplete Uncertainty Estimate | T | P | RH |  |  | STD DEV | 0 | 0 | 0
u(s) | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | Cx (t) | Cx (P) | Cx (RH)
s(p) | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2*RSS | #DIV/0! | #DIV/0! | #DIV/0! |  |  | Eqn. 3. Calculation of the Unknown Correction.

## Calibration (2)
SOP 49, Standard Operating Procedure for Calibration of Environmental Monitoring Standards by Direct Comparison
Laboratory data and conditions:
Operator |  | Laboratory Conditions | Before | After
Date Range |  | Temperature
Replicate standard deviation of the process, from standard deviation chart, sp |  | Pressure
Degrees of Freedom |  | Relative Humidity
Standard(s) data:
ID | Nominala | Correctionb | Measurement Units | Expanded Unc: | Unc. | Unc. Units
|  |  |  | From cal. certificate | k factor
S – temperature
S – pressure
S – relative humidity
a selected reference value from the calibration certificate nearest to normal laboratory conditions.
b taking care to determine directionality as appropriate
Identification of the standards, serial number:
Identification of the standards, calibration source:
Identification of the standards, date of calibration:
Instrument | [5 empty] | Eqn. 1. Observed difference calculation, Option A.
Observations
Date | S (t) | X (t) | S (P) | X (P) | S (RH) | X (RH) | d (t) | d (P) | d (RH)
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 |  | 0
[7 empty] | 0 | 0 | 0
[6 empty] | MEAN | 0 | 0 | 0
Incomplete Uncertainty Estimate | T | P | RH |  |  | STD DEV | 0 | 0 | 0
u(s) | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | Cx (t) | Cx (P) | Cx (RH)
s(p) | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2*RSS | #DIV/0! | #DIV/0! | #DIV/0! |  |  | Eqn. 3. Calculation of the Unknown Correction.
Instrument | [5 empty] | Eqn. 1. Observed difference calculation, Option A.
Observations
Date | S (t) | X (t) | S (P) | X (P) | S (RH) | X (RH) | d (t) | d (P) | d (RH)
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[6 empty] | MEAN | 0 | 0 | 0
Incomplete Uncertainty Estimate | T | P | RH |  |  | STD DEV | 0 | 0 | 0
u(s) | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | Cx (t) | Cx (P) | Cx (RH)
s(p) | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2*RSS | #DIV/0! | #DIV/0! | #DIV/0! |  |  | Eqn. 3. Calculation of the Unknown Correction.
Instrument | [5 empty] | Eqn. 1. Observed difference calculation, Option A.
Observations
Date | S (t) | X (t) | S (P) | X (P) | S (RH) | X (RH) | d (t) | d (P) | d (RH)
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[7 empty] | 0 | 0 | 0
[6 empty] | MEAN | 0 | 0 | 0
Incomplete Uncertainty Estimate | T | P | RH |  |  | STD DEV | 0 | 0 | 0
u(s) | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | Cx (t) | Cx (P) | Cx (RH)
s(p) | 0 | 0 | 0 |  |  |  | 0 | 0 | 0
2*RSS | #DIV/0! | #DIV/0! | #DIV/0! |  |  | Eqn. 3. Calculation of the Unknown Correction.