Student Notes for Software V&V Webinar (Pre-work and Session Notes)

(Submit these completed notes and assessments within 7 days of attending the webinar).

Participant Name:

Date Attended:

- Comparison Notes: Compare the attached Procedure for Software Quality Assurance to your laboratory procedure for software quality assurance, prior to the first session.  Include at least three observations here and be prepared to submit them during the webinar. (TIME SPENT – in minutes: _________).

- Software Inventory Form: Complete (or update) the attached Computer Inventory Form (or submit your own adaptation of a similar form/approach, which may be a portion of your laboratory Master List).  Submit within 30 days of the webinar. This can be completed in advance of the first session. (TIME SPENT – in minutes: _________).

- Software Verification and Validation Form A: Complete ONE example assessment of a spreadsheet in use in your laboratory and submit the spreadsheet and the completed assessment form. If the spreadsheet is based on a procedure that is not published by NIST, submit a copy of the procedure with the Excel file.  These files will be reviewed during session two. Submit within 7 days of the webinar. NOTE: This assessment will take 3 to 5 hours of additional time to do the assessment well.  (TIME SPENT – in minutes: _________).

- V&V Techniques (complete during the webinar):

| Codes for Validation |  | Notes |  |  |
| --- | --- | --- | --- | --- |
| A | Software inspection |  |  |  |
| B | Mathematical specification |  |  |  |
| C | Code review |  |  |  |
| D | Numerical stability |  |  |  |
| E | Component testing |  |  |  |
| F | Numerical reference results |  |  |  |
| G | Embedded data evaluation |  |  |  |
| H | Back-to-back testing |  |  |  |
| I | Analysis without computer assistance |  |  |  |
| J | Security |  |  |  |